## Cubic 5003
SATELIGHT CUBIC 5003 (500 Sq. x 300 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 5003 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 500 Sq. x 300 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: Single ES lamp holder, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lamp Type: 1 x Max. 15w E27 Compact Fluorescent Lamp, 1 x Max. 42w E27 Eco Halogen Lamp or 1 x Max. 10w E27 LED Lamp. Lamps not included. Decorative, frosted, warm white lamps recommended. Check lamp type for suitability with dimming. Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 5004
SATELIGHT CUBIC 5004 (500 Sq. x 400 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 5004 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 500 Sq. x 400 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: Single ES lamp holder, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lamp Type: 1 x Max. 15w E27 Compact Fluorescent Lamp, 1 x Max. 42w E27 Eco Halogen Lamp or 1 x Max. 10w E27 LED Lamp. Lamps not included. Decorative, frosted, warm white lamps recommended. Check lamp type for suitability with dimming. Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 6003
SATELIGHT CUBIC 6003 (600 Sq. x 300 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 6003 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 600 Sq. x 300 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: Single ES lamp holder, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lamp Type: 1 x Max. 15w E27 Compact Fluorescent Lamp, 1 x Max. 42w E27 Eco Halogen Lamp or 1 x Max. 10w E27 LED Lamp. Lamps not included. Decorative, frosted, warm white lamps recommended. Check lamp type for suitability with dimming. Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 6004
SATELIGHT CUBIC 6004 (600 Sq. x 400 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 6004 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 600 Sq. x 400 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: Single ES lamp holder, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lamp Type: 1 x Max. 15w E27 Compact Fluorescent Lamp, 1 x Max. 42w E27 Eco Halogen Lamp or 1 x Max. 10w E27 LED Lamp. Lamps not included. Decorative, frosted, warm white lamps recommended. Check lamp type for suitability with dimming. Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 7003
SATELIGHT CUBIC 7003 (700 Sq. x 300 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 7003 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 700 Sq. x 300 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 7004
SATELIGHT CUBIC 7004 (700 Sq. x 400 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 7004 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 700 Sq. x 400 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 8003
SATELIGHT CUBIC 8003 (800 Sq. x 300 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 8003 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 800 Sq. x 300 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 8004
SATELIGHT CUBIC 8004 (800 Sq. x 400 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 8004 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 800 Sq. x 400 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 9003
SATELIGHT CUBIC 9003 (900 Sq. x 300 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 9003 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 900 Sq. x 300 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 9004
SATELIGHT CUBIC 9004 (900 Sq. x 400 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 9004 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 900 Sq. x 400 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 10003
SATELIGHT CUBIC 10003 (1000 Sq. x 300 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 10003 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 1000 Sq. x 300 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.

## Cubic 10004
SATELIGHT CUBIC 10004 (1000 Sq. x 400 H) LUMINAIRE SCHEDULE TEMPLATE
Please use this template when specifying
Please ensure you have the latest luminaire schedule template for this product. |  |  |  | Version: 010217
The latest luminaire schedule template can be downloaded here: http://www.satelight.com.au/products/pendant-lights/sat-cubic-pendant.html
ITEM CODE | LOCATION | ITEM | IMAGE | DESCRIPTION & SPECIFICATION | SUPPLIER | LEAD TIME | QUANTITY | COMMENTS | REV | DATE | APPROVAL
| Please note: Fittings are only intended for interior use within dry areas. If placed in wet or windy areas or exposed to weather, damage may occur. Position of these fittings is critical to stop rotation. Do not place these pendant lights near air conditioning or open doors. Please contact Satelight if you have any questions. | Pendant Light |  | PRODUCT: SATELIGHT CUBIC 10004 Shade Material: **INSERT SELECTION - SEE LIST BELOW** Shade materials can only be applied to exterior of shade Shade Dimensions: 1000 Sq. x 400 H (mm) Diffuser: Fog 256-PA on lugs at base of shade, unless otherwise specified. Suspension: 4 adjustable stainless steel wires, ceiling canopy & flex. Flex Colour: **INSERT SELECTION - SEE LIST BELOW** Flex Length: **INSERT SELECTION - SEE LIST BELOW** Lampholder Configuration and Type: **INSERT SELECTION - SEE LIST BELOW** Reference Quote Number: **INSERT SATELIGHT QUOTE NUMBER** | Satelight info@satelight.com.au (+61 3) 9399 5805 Contact: **INSERT PROJECT MANAGER'S NAME or INITIALS FROM QUOTE** | Approximately 4-6 weeks + delivery time | 5 (Minimum Units from this Collection)
SPECIFICATION OPTIONS:
Shade Material: |  | Click on the material/finish collections below to view options. Please insert material name & code into schedule.
Material(s)/finish(es) can only be applied onto the exterior of shade.
http://www.satelight.com.au/products/materials-and-finishes.html?lighting_collection=cubic
Flex Colour: |  | Black (Standard)
If other colours are required, please contact Satelight.
Flex Length: |  | 1.5m (Standard)
If fittings need to be mounted close to the ceiling or longer flex lengths are required, please contact Satelight.
Lampholder Configuration & Type: |  | 3 Point ES Lamp Disk (Standard and Default) : 3 x Max. 15w E27 CFL , 3 x Max. 42w Eco Halogen or 3 x Max. 10w E27 LED Lamps. Lamps not included. Decorative, Warm White lamps recommended. Check lamp type for suitablility with dimming.
4000K Dimmable LED Disk (Alternative) : DALI, DSI or SwitchDim with remote mounted driver. Please note alternative suspension set is supplied if this LED disk is specified. Please contact Satelight for more details and pricing.
We recommend that a project quote is generated to assist with budgeting and tender tracking.
Please email your project requirements to info@satelight.com.au or discuss your project with one of our project managers on (+61 3) 9399 5805.